## BExRepositorySheet (hidden)
7

## Graph (hidden)
FEP8Qry3
|  |  | Author | FAC214 |  | Relevance of Data (Time) | 09:38:20
Information
|  | Author | FAC214 |  | Last Refreshed | 27/07/2012 09:52:10
|  | Current User | FHG061 |  | Key Date | 30/06/2012
|  | Last Changed by | HHD571 |  | Changed At | 13/06/2012 18:03:12
|  | InfoProvider | IPE_R01 |  | Status of Data | 27/07/2012 09:38:20
|  | Query Technical Name | IPE0_CHECK_REPORT |  | Relevance of Data (Date) | 27/07/2012
|  | Query Description | Perform Tool Control Report |  | Relevance of Data (Time) | 09:38:20
Filter
Adjustment Type
Assets Generation Name
BL - Furnace technical type
Business Area Plant
Business Area Plant
Business Line Plant
Business Line
Cargo Origin
CE - Item
CERIS ID
CERIS ID
CHI - Technical type
Cluster
COD
Comment 1
Comment 2
Comment 3
Commercial operation adaptation Date
Commercial operation date
Commercial Out of Service Date
Company Origin
Component in Service Date
Component Manufacturer Company
Component Metier
Component Out of Service Date
Component Primary Energy Sources
Component
Component
Concession type: BOO / BOT / BOOT
Connection to :
Consolidation Method
Consolidation Type | ]GDF Net ownership[, Full, GDF Net ownership, Net Group Share %
COO - Cooling water type
Country
Country
Country
Created By
Currency/Unit
Currency
DAM - Type of dam
Data Source
Date First Synchronization
Date Incorporation
Date
DCS - DCS commercial model
Dedicated Power Offtake
DEM - Technical type
DEN - Technical type
DES - Technical type
Emerging and Developing Economies
EN - Technical type
End of contract (next exit date)
Entity status
Entity
Environment scope
Environment scope
Environment scope
File Name Grouping
File Name
Fiscal Year Variant
Fiscal year/period
Fiscal year
Frequency of Produced Electricity (Hz)
Fuel
GEN - Technical type
Geographic Area
GT - Class
GT - Commercial type
GT - Dual fuel capability
HR - Technical type
HT - Technical type
Hub Height
IPR Operational Control
Item Category
Item Family
Item Group
Item Sub-Category
Key Figures | ,Quantity
KPI 1 Technology
Location
Main Activity
Main fuel BEEI
Main fuel strate
Main Fuel
Main secondary activity
Main Technology
Maintenance Company
Maintennace contract type
Milestone name
MW Installed
Nature
Net Group Share % method
Net Group Share %
Net Ownership GDFSUEZ
Net Ownership IPR
Number of component
OHSAS 18001 Certification
Operator
Origin Type
Perform item calc. flag
Perform Item | PCAP0010 Net maximum electrical capacity in operation...
Plan Metier | GEN
Plant
Posting period | 6
Power offtake Merchant / non merchant by 3 years
Power offtake Merchant / Non merchant
Power offtake merchant by 3 years
Power offtake merchant
Power offtake non merchant by 3 years
Power offtake non merchant
Project Name
Remote command of the machines
Remote command of the station
Remote monitoring
Request ID
Rotor diameter (meter)
SAL - Technical type
Ship Name
Smart Entity
Smart Entity
Smart Technology
SO - Technical type
Sort Unit
ST - Technical type
State
Sub Component
Sub Country
Subcomponent out of service date
Subcomponent in service date
Subcomponent manufacturer company
Subcomponent
Swept surface
Technology BEE
Technology
TRA - Technical type
Type
Unit manufacturer
Unit Metier
Unit of measure
Unit Status
Unit Status | ]Disinvestment[, ]Operated[, ]Project[
Unit
User Name
Version
Wind class
WT - Commercial model
WT - Gearing box vs direct drive
WT - Gearing box vs direct drive
WT - Technical type
WT - Tower material
WT - Tower material
Control Report Buffer

## GDF SUEZ power generation fleet
GDF SUEZ power generation fleet - as of 06/30/2012
[6 empty] | Capacity @ 100% (MW) |  | Capacity @ Group Share (MW)
Country | Plant name | Main fuel | Contractual position | Net Group Share % | Consolidation method | Running | Under construction | Running | Under construction
Energy Europe Business Line/ Central Western Europe | [5 empty] | 26500.104 | 1601.3 | 25982.828 | 1595.027
France | SHEM | Hydro | MERCHANT | 100% | Global | 587.7 |  | 587.7
France | SHEM | Hydro | NON MERCHANT | 100% | Global | 195.42 |  | 195.42
France | CNR | Hydro | MERCHANT | 100% | Global | 3017.08 |  | 3017.08
France | Wind | Wind | NON MERCHANT | 100% | Global | 893.38 | 105.3 | 893.38 | 105.3
France | Wind | Wind | NON MERCHANT | 49% | Proportional | 198 | 12.3 | 97.02 | 6.027
France | Solar | Solar | NON MERCHANT | 100% | Global | 14.98 | 0.3 | 14.98 | 0.3
France | CURBANS | Solar | NON MERCHANT | 40% | Equity | 26.1 |  | 10.44
France | DUNKERQUE | Natural gas | MERCHANT | 100% | Global | 788 |  | 788
France | FOS-SUR-MER 2 | Natural gas | MERCHANT | 100% | Global | 490 |  | 490
France | FOS-SUR-MER 3 | Natural gas | MERCHANT | 100% | Global | 435 |  | 435
France | MONTOIR-DE-BRETAGNE | Natural gas | MERCHANT | 100% | Global | 435 |  | 435
France | NDR CONTRACT CHOOZ | Nuclear | MERCHANT | 100% | Global | 750 |  | 750
France | NDR CONTRACT TRICASTIN | Nuclear | MERCHANT | 100% | Global | 457.6 |  | 457.6
Belgium | DOEL | Nuclear | MERCHANT | 100% | Global | 2911 |  | 2911
Belgium | TIHANGE | Nuclear | MERCHANT | 100% | Global | 3015.8 |  | 3015.8
Belgium | NDR CONTRACT BLUESKY | Nuclear | MERCHANT | 100% | Global | -199.982 |  | -199.982
Belgium | NDR CONTRACT EDF | Nuclear | MERCHANT | 100% | Global | -419 |  | -419
Belgium | NDR CONTRACT EON | Nuclear | MERCHANT | 100% | Global | -500 |  | -500
Belgium | NDR CONTRACT SPE | Nuclear | MERCHANT | 100% | Global | -517.779 |  | -517.779
Belgium | NL PDR CONTRACT EON | Nuclear | MERCHANT | 100% | Global | -270 |  | -270
Belgium | AMERCOEUR | Natural gas | MERCHANT | 100% | Global | 437 |  | 437
Belgium | AWIRS | Natural gas | MERCHANT | 100% | Global | 294 |  | 294
Belgium | DROGENBOS | Natural gas | MERCHANT | 100% | Global | 460 |  | 460
Belgium | HERDERSBRUG | Natural gas | MERCHANT | 100% | Global | 460 |  | 460
Belgium | RUIEN | Natural gas | MERCHANT | 100% | Global | 275 |  | 275
Belgium | SAINT-GHISLAIN | Natural gas | MERCHANT | 100% | Global | 350 |  | 350
Belgium | WILMARSDONK | Natural gas | MERCHANT | 100% | Global | 154 |  | 154
Belgium | ZANDVLIET | Natural gas | MERCHANT | 50% | Proportional | 395 |  | 197.5
Belgium | Other natural gas (< 100MW) | Other natural gas (< 100MW) | MERCHANT | 100% | Global | 527.3 |  | 527.3
Belgium | LILLO ENERGY | Natural gas | MERCHANT | 50% | Proportional | 85 |  | 42.5
Belgium | COO | Hydro | MERCHANT | 100% | Global | 1164 |  | 1164
Belgium | PLATE TAILLE | Hydro | MERCHANT | 100% | Global | 143 |  | 143
Belgium | Other hydro (< 10MW) | Other hydro (< 10MW) | MERCHANT | 100% | Global | 21.805 |  | 21.805
Belgium | Wind | Wind | MERCHANT | 100% | Global | 144.11 | 16.4 | 144.11 | 16.4
Belgium | AWIRS | Biomass and biogas | MERCHANT | 100% | Global | 95 |  | 95
Belgium | RODENHUIZE | Biomass and biogas | MERCHANT | 100% | Global | 215 |  | 215
Belgium | RUIEN | Coal & Bio | MERCHANT | 100% | Global | 333 |  | 333
Belgium | Other renewable | Other renewable | MERCHANT | 100% | Global | 4.59 |  | 4.59
Belgium | ZELZATE 2 | Other non renewable | MERCHANT | 100% | Global | 315 |  | 315
Belgium | Other non renewable (< 50MW) | Other non renewable (< 50MW) | MERCHANT | 100% | Global | 285.5 |  | 285.5
Germany | FARGE | Coal | MERCHANT | 100% | Global | 350 |  | 350
Germany | FENNE | Coal | MERCHANT | 100% | Global | 420 |  | 420
Germany | WILHELMSHAVEN | Coal | MERCHANT | 100% | Global | 0 | 731 | 0 | 731
Germany | WUPPERTAL | Coal | MERCHANT | 33.1% | Proportional | 87.518 |  | 28.968
Germany | ZOLLING | Coal | MERCHANT | 100% | Global | 468 |  | 468
Germany | NDR CONTRACT | Nuclear | MERCHANT | 100% | Global | 700 |  | 700
Germany | GERA | Natural gas | MERCHANT | 49.9% | Proportional | 75 |  | 37.425
Germany | SAARBRÜCKEN | Natural gas | MERCHANT | 100% | Global | 123.5 |  | 123.5
Germany | WUPPERTAL | Natural gas | MERCHANT | 33.1% | Proportional | 81.482 |  | 26.971
Germany | PFREIMD | Hydro | MERCHANT | 100% | Global | 132.1 |  | 132.1
Germany | ZOLLING | Biomass and biogas | MERCHANT | 50% | Proportional | 20 |  | 10
Germany | HELMSTADT/BAYERN | Wind | MERCHANT | 100% | Global | 12.5 |  | 12.5
Germany | ZOLLING | Other non renewable | MERCHANT | 100% | Global | 50 |  | 50
Luxembourg | ESCH-SUR-ALZETTE | Natural gas | MERCHANT | 100% | Global | 376.4 |  | 376.4
Netherlands | APNED | Natural gas | MERCHANT | 100% | Global | 43 |  | 43
Netherlands | BERGUM | Natural gas | MERCHANT | 100% | Global | 664 |  | 664
Netherlands | EEMS | Natural gas | MERCHANT | 100% | Global | 2465 |  | 2465
Netherlands | FLEVO | Natural gas | MERCHANT | 100% | Global | 999 |  | 999
Netherlands | HARCULO | Natural gas | MERCHANT | 100% | Global | 349 |  | 349
Netherlands | GELDERLAND | Coal & Bio | MERCHANT | 100% | Global | 590 |  | 590
Netherlands | ROTTERDAM | Coal | MERCHANT | 100% | Global | 0 | 736 | 0 | 736
Netherlands | EEMS | Wind | NON MERCHANT | 100% | Global | 27 |  | 27
Energy Europe Business Line/ Other Europe | [5 empty] | 12631.267 | 366.2 | 10430.88 | 366.2
Spain | CARTAGENA | Natural gas | MERCHANT | 100% | Global | 1199.25 |  | 1199.25
Spain | CASTELNOU | Natural gas | MERCHANT | 100% | Global | 773.5 |  | 773.5
Greece | VIOTIA 2 | Natural gas | MERCHANT | 50% | Proportional | 422 |  | 211
Greece | VIOTIA | Natural gas | MERCHANT | 50% | Proportional | 147.762 |  | 73.881
Hungary | DUNAMENTI | Natural gas | MERCHANT | 100% | Global | 1454.1 |  | 1454.1
Hungary | DUNAMENTI | Other non renewable | MERCHANT | 100% | Global | 412.8 |  | 412.8
Italy | LEINI | Natural gas | MERCHANT | 100% | Global | 390 |  | 390
Italy | NAPOLI LEVANTE | Natural gas | MERCHANT | 50% | Proportional | 380 |  | 190
Italy | ROSIGNANO 2 | Natural gas | MERCHANT | 100% | Global | 386 |  | 386
Italy | ROSIGNANO | Natural gas | NON MERCHANT | 100% | Global | 356 |  | 356
Italy | TORREVALDALIGA | Natural gas | MERCHANT | 50% | Proportional | 1445 |  | 722.5
Italy | VADO LIGURE | Natural gas | MERCHANT | 50% | Proportional | 781.6 |  | 390.8
Italy | VOGHERA | Natural gas | MERCHANT | 100% | Global | 390 |  | 390
Italy | VPP CONTRACT | Natural gas | MERCHANT | 100% | Global | 1100 |  | 1100
Italy | VADO LIGURE | Coal | MERCHANT | 50% | Proportional | 590 |  | 295
Italy | Wind | Wind | MERCHANT | 100% | Global | 130 |  | 130
Italy | TIRRENO | Hydro | MERCHANT | 50% | Proportional | 66.03 |  | 33.015
Italy | SESSA AURUNCA | Other renewable | MERCHANT | 50% | Proportional | 6.9 |  | 3.45
Italy | Solar | Solar | NON MERCHANT | 100% | Global | 1.825 | 1 | 1.825 | 1
Poland | POLANIEC | Coal & Bio | MERCHANT | 100% | Global | 1445 | 76.2 | 1445 | 76.2
Poland | POLANIEC | Biomass and biogas | MERCHANT | 100% | Global |  | 190 |  | 190
Poland | Wind | Wind | MERCHANT | 100% | Global | 51.25 | 51 | 51.25 | 51
Portugal | Wind | Wind | NON MERCHANT | 42.5% | Equity | 436.45 |  | 185.492
Portugal | Wind | Wind | NON MERCHANT | 100% | Global | 214 |  | 214
Portugal | Small hydro (< 10MW) | Small hydro (< 10MW) | NON MERCHANT | 42.5% | Equity | 23.8 |  | 10.116
Portugal | Small hydro (< 10MW) | Small hydro (< 10MW) | MERCHANT | 42.5% | Equity | 9.4 |  | 3.995
Portugal | Solar | Solar | NON MERCHANT | 42.5% | Equity | 18.6 |  | 7.906
Romania | GEMENELE | Wind | MERCHANT | 100% | Global |  | 48 |  | 48
Notes :
(1) Non merchant refers to assets with one or several long term (> 3 years) contracts
(2) Net Group share definition: % of consolidation for full and proportionally affiliates and % holding for equity consolidated companies
[6 empty] | Capacity @ 100% (MW) |  | Capacity @ Group Share (MW)
Country | Plant name | Main fuel | Contractual position | Net Group Share % | Consolidation method | Running | Under construction | Running | Under construction
Energy International Business Line/ Latin America | [5 empty] | 11760.539 | 5171.95 | 10140.513 | 3137.84
Brazil | ESTREITO HYDRO | Hydro | NON MERCHANT | 40.07% | Proportional | 815.25 | 271.75 | 326.67 | 108.89
Brazil | JIRAU | Hydro | PARTIALLY CONTRACTED | 50.1% | Proportional |  | 3750 |  | 1878.75
Brazil | UHE ITÁ | Hydro | NON MERCHANT | 77.72% | Proportional | 1450 |  | 1126.94
Brazil | UHE MACHADINHO | Hydro | NON MERCHANT | 35.43% | Proportional | 1140 |  | 403.902
Brazil | UHE SALTO SANTIAGO | Hydro | NON MERCHANT | 100% | Global | 1420 |  | 1420
Brazil | UHE SALTO OSÓRIO | Hydro | NON MERCHANT | 100% | Global | 1078 |  | 1078
Brazil | UHE CANA BRAVA | Hydro | NON MERCHANT | 100% | Global | 450 |  | 450
Brazil | SAO SALVADOR HYDRO PLANT | Hydro | NON MERCHANT | 100% | Global | 243.2 |  | 243.2
Brazil | UHE PASSO FUNDO | Hydro | NON MERCHANT | 100% | Global | 226 |  | 226
Brazil | UHE PONTE DE PEDRA | Hydro | NON MERCHANT | 100% | Global | 176.1 |  | 176.1
Brazil | Small hydro (< 30MW) | Small hydro (< 30MW) | NON MERCHANT | 100% | Global | 70.11 |  | 70.11
Brazil | ANDRADE | Biomass and biogas | NON MERCHANT | 64.24% | Proportional | 30 |  | 19.272
Brazil | LAGES COGENERATION FACILITY | Biomass and biogas | NON MERCHANT | 100% | Global | 25 |  | 25
Brazil | Wind | Wind | NON MERCHANT | 100% | Global | 43.6 | 115.4 | 43.6 | 115.4
Brazil | UTE CHARQUEADAS | Coal | NON MERCHANT | 100% | Global | 60 |  | 60
Brazil | UTE JORGE LACERDA | Coal | NON MERCHANT | 100% | Global | 773 |  | 773
Brazil | UTE WILLIAM ARJONA | Natural gas | NON MERCHANT | 100% | Global | 190 |  | 190
Brazil | UTE ALEGRETE 1-2 | Other non renewable | NON MERCHANT | 100% | Global | 60 |  | 60
Chile | MEJILLONES CTA | Coal | NON MERCHANT | 100% | Global | 152.6 |  | 152.6
Chile | MEJILLONES CTH | Coal | NON MERCHANT | 60% | Proportional | 153.9 |  | 92.34
Chile | MEJILLONES I-III | Coal | NON MERCHANT | 100% | Global | 318.9 |  | 318.9
Chile | TOCOPILLA | Coal | NON MERCHANT | 100% | Global | 410.89 |  | 410.89
Chile | MEJILLONES I-III | Natural gas | NON MERCHANT | 100% | Global | 243.227 |  | 243.227
Chile | TOCOPILLA | Natural gas | NON MERCHANT | 100% | Global | 393 |  | 393
Chile | CHAPIQUIÑA | Hydro | NON MERCHANT | 100% | Global | 10.138 |  | 10.138
Chile | LAJA | Hydro | NON MERCHANT | 100% | Global |  | 34.4 |  | 34.4
Chile | MONTE REDONDO | Wind | NON MERCHANT | 100% | Global | 48 |  | 48
Chile | Other non renewable | Other non renewable | NON MERCHANT | 100% | Global | 342.708 |  | 342.708
Costa Rica | GUANACASTE | Wind | NON MERCHANT | 100% | Global | 49.5 |  | 49.5
Panama | BAHIA LAS MINAS | Other non renewable | NON MERCHANT | 100% | Global | 141 |  | 141
Panama | CATIVA | Other non renewable | NON MERCHANT | 100% | Global | 83 |  | 83
Panama | BAHIA LAS MINAS | Coal | NON MERCHANT | 100% | Global | 108 |  | 108
Panama | DOS MARES | Hydro | NON MERCHANT | 100% | Global | 59 | 58.6 | 59 | 58.6
Peru | CHILCA | Natural gas | NON MERCHANT | 100% | Global | 538.291 | 266 | 538.291 | 266
Peru | ILO 1 & 2 | Other non renewable | NON MERCHANT | 100% | Global | 196.963 | 564 | 196.963 | 564
Peru | ILO 21 | Coal | NON MERCHANT | 100% | Global | 124.59 |  | 124.59
Peru | QUITARACSA | Hydro | NON MERCHANT | 100% | Global |  | 111.8 |  | 111.8
Peru | YUNCAN | Hydro | NON MERCHANT | 100% | Global | 136.572 |  | 136.572
Energy International Business Line/ North America | [5 empty] | 14214.124 | 351 | 12911.036 | 351
Canada | WEST WINDSOR COGENERATION FACILITY | Natural gas | NON MERCHANT | 100% | Global | 112 |  | 112
Canada | Wind | Wind | NON MERCHANT | 100% | Global | 361.8 | 297 | 361.8 | 297
Canada | BROCKVILLE | Solar | NON MERCHANT | 100% | Global |  | 10 |  | 10
Mexico | MONTERREY COGENERATION | Natural gas | NON MERCHANT | 100% | Global | 245 |  | 245
Mexico | PANUCO (DUPONT) | Natural gas | NON MERCHANT | 100% | Global | 24.2 |  | 24.2
Mexico | TAMPICO (PRIMEX) | Natural gas | NON MERCHANT | 100% | Global | 9.3 |  | 9.3
Puerto Rico | ECOELECTRICA (PR) | Natural gas | NON MERCHANT | 50% | Proportional | 507 |  | 253.5
USA | MIDLOTHIAN (TX) | Natural gas | MERCHANT | 100% | Global | 1393.6 |  | 1393.6
USA | HAYS (TX) | Natural gas | MERCHANT | 100% | Global | 893.4 |  | 893.4
USA | HOT SPRING | Natural gas | MERCHANT | 100% | Global | 746 |  | 746
USA | WISE COUNTY POWER | Natural gas | MERCHANT | 100% | Global | 746 |  | 746
USA | ARMSTRONG (PA) | Natural gas | MERCHANT | 100% | Global | 620 |  | 620
USA | TROY (OH) | Natural gas | MERCHANT | 100% | Global | 609 |  | 609
USA | ASTORIA 2 | Natural gas | NON MERCHANT | 27.75% | Equity | 575 |  | 159.563
USA | ASTORIA | Natural gas | NON MERCHANT | 100% | Global | 575 |  | 575
USA | ANP BELLINGHAM (MA) | Natural gas | NON MERCHANT | 100% | Global | 527 |  | 527
USA | BLACKSTONE (MA) | Natural gas | MERCHANT | 100% | Global | 478 |  | 478
USA | OYSTER CREEK (TX) | Natural gas | NON MERCHANT | 50% | Proportional | 393 |  | 196.5
USA | HOPEWELL COGENERATION FACILITY | Natural gas | NON MERCHANT | 100% | Global | 365 |  | 365
USA | ENNIS POWER STATION | Natural gas | MERCHANT | 100% | Global | 343 |  | 343
USA | PLEASANTS (WV) | Natural gas | MERCHANT | 100% | Global | 304 |  | 304
USA | BELLINGHAM COGENERATION FACILITY | Natural gas | NON MERCHANT | 50% | Proportional | 303.5 |  | 151.75
USA | CALUMET (IL) | Natural gas | MERCHANT | 100% | Global | 303 |  | 303
USA | SAYREVILLE COGENERATION FACILITY | Natural gas | NON MERCHANT | 50% | Proportional | 287 |  | 143.5
USA | MILFORD (MA) | Natural gas | MERCHANT | 100% | Global | 158 |  | 158
USA | BUCKSPORT (ME) | Natural gas | NON MERCHANT | 30.56% | Proportional | 157 |  | 47.979
USA | Natural gas (< 100MW) | Natural gas (< 100MW) | MERCHANT | 100% | Global | 162.7 |  | 162.7
USA | Natural gas (< 100MW) | Natural gas (< 100MW) | NON MERCHANT | 100% | Global | 89.4 |  | 89.4
USA | Natural gas (< 50MW) | Natural gas (< 50MW) | NON MERCHANT | 51% | Proportional | 45.8 |  | 23.314
USA | LANSING (GENERAL MOTORS) | Natural gas | NON MERCHANT | 39.2% | Equity | 1.8 |  | 0.706
USA | COLETO CREEK (TX) | Coal | MERCHANT | 100% | Global | 635 |  | 635
USA | MT TOM | Coal | MERCHANT | 100% | Global | 145.5 |  | 145.5
USA | RED HILLS 2 | Coal | NON MERCHANT | 100% | Global | 440 |  | 440
USA | COLORADO (COORS) | Coal | NON MERCHANT | 100% | Global | 40.4 |  | 40.4
USA | NORTHEASTERN POWER COMPANY | Coal | MERCHANT | 100% | Global | 51 |  | 51
USA | SYRACUSE | Coal | NON MERCHANT | 100% | Global | 65 |  | 65
USA | TUSCOLA (EQUISTAR CHEMIC.) | Coal | NON MERCHANT | 51% | Proportional | 20 |  | 10.2
USA | NORTHFIELD MOUNTAIN | Hydro | MERCHANT | 100% | Global | 1124 | 44 | 1124 | 44
USA | CABOT | Hydro | MERCHANT | 100% | Global | 61.8 |  | 61.8
USA | ROCKY RIVER | Hydro | MERCHANT | 100% | Global | 29 |  | 29
USA | SHEPAUG | Hydro | MERCHANT | 100% | Global | 42.6 |  | 42.6
USA | STEVENSON | Hydro | MERCHANT | 100% | Global | 28.9 |  | 28.9
USA | Small hydro (< 10MW) | Small hydro (< 10MW) | MERCHANT | 100% | Global | 39.524 |  | 39.524
USA | Biomass and biogas | Biomass and biogas | MERCHANT | 100% | Global | 54.9 |  | 54.9
USA | Biomass and biogas | Biomass and biogas | NON MERCHANT | 100% | Global | 77.2 |  | 77.2
USA | NORTHFIELD MOUNTAIN | Other renewable | MERCHANT | 100% | Global | 1.7 |  | 1.7
USA | TUNNEL | Other non renewable | MERCHANT | 100% | Global | 22.1 |  | 22.1
Notes :
(1) Non merchant refers to assets with one or several long term (> 3 years) contracts
(2) Net Group share definition: % of consolidation for full and proportionally affiliates and % holding for equity consolidated companies
[6 empty] | Capacity @ 100% (MW) |  | Capacity @ Group Share (MW)
Country | Plant name | Main fuel | Contractual position | Net Group Share % | Consolidation method | Running | Under construction | Running | Under construction
Energy International Business Line/ UK-Europe | [5 empty] | 13889.19 | 47.15 | 10719.022 | 47.15
Belgium | T-POWER | Natural gas | NON MERCHANT | 33.33% | Proportional | 420 |  | 139.986
Germany | LEVANTO 2 | Wind | NON MERCHANT | 100% | Global | 58 |  | 58
Germany | LEVANTO GSEF DE | Wind | NON MERCHANT | 100% | Global | 310.7 |  | 310.7
Germany | LEVANTO SEL | Wind | NON MERCHANT | 100% | Global | 98.26 |  | 98.26
Germany | IP MAESTRALE (MEG) | Wind | NON MERCHANT | 100% | Global | 86 |  | 86
Germany | SCHKORTLEBEN | Wind | NON MERCHANT | 100% | Global | 27.6 |  | 27.6
Spain | ELECTROMET. DEL EBRO | Hydro | NON MERCHANT | 100% | Global | 35.7 |  | 35.7
Spain | IBERICA DE ENERGIAS | Hydro | NON MERCHANT | 100% | Global | 48.33 |  | 48.33
Spain | CANJUNEDA/CAMI | Solar | NON MERCHANT | 100% | Global | 1 |  | 1
France | LEVANTO GSEF FR | Wind | NON MERCHANT | 100% | Global | 26.7 |  | 26.7
United Kingdom | DEESIDE | Natural gas | MERCHANT | 100% | Global | 515 |  | 515
United Kingdom | DERWENT | Natural gas | MERCHANT | 33% | Equity | 210 |  | 69.3
United Kingdom | SALTEND | Natural gas | MERCHANT | 100% | Global | 1197 |  | 1197
United Kingdom | SHOTTON | Natural gas | MERCHANT | 100% | Global | 210 |  | 210
United Kingdom | TEESSIDE | Natural gas | MERCHANT | 100% | Global | 1875 |  | 1875
United Kingdom | EGGBOROUGH | Coal | MERCHANT | 9.7% | Equity | 1960 |  | 190.12
United Kingdom | RUGELEY B | Coal | MERCHANT | 100% | Global | 1026 |  | 1026
United Kingdom | FIRST HYDRO | Hydro | MERCHANT | 100% | Global | 2088 |  | 2088
United Kingdom | Wind | Wind | MERCHANT | 100% | Global | 20 | 47.15 | 20 | 47.15
United Kingdom | CRIMP | Wind | NON MERCHANT | 100% | Global | 2.4 |  | 2.4
United Kingdom | INDIAN QUEENS | Other non renewable | MERCHANT | 100% | Global | 129.2 |  | 129.2
Italy | IP MAESTRALE HOLDINGS | Wind | NON MERCHANT | 100% | Global | 549.7 |  | 549.7
Italy | PEG AKA BRULLI | Wind | NON MERCHANT | 100% | Global | 27.5 |  | 27.5
Italy | ISAB | Other non renewable | NON MERCHANT | 49% | Equity | 532.4 |  | 260.876
Netherlands | LEVANTO NL | Wind | NON MERCHANT | 100% | Global | 28.7 |  | 28.7
Portugal | TURBOGAS | Natural gas | NON MERCHANT | 100% | Global | 990 |  | 990
Portugal | ELECGAS | Natural gas | NON MERCHANT | 49.99% | Proportional | 840 |  | 419.95
Portugal | PEGO | Coal | NON MERCHANT | 50% | Equity | 576 |  | 288
Energy International Business Line/ Middle East Turkey & Africa | [5 empty] | 24049.276 | 2651.62 | 8082.503 | 1001.734
Utd.Arab Emir. | FUJAIRAH F2 | Natural gas | NON MERCHANT | 20% | Equity | 2000 |  | 400
Utd.Arab Emir. | SHUWEIHAT 2 | Natural gas | NON MERCHANT | 20% | Equity | 1510 |  | 302
Utd.Arab Emir. | SHUWEIHAT S1 | Natural gas | NON MERCHANT | 20% | Equity | 1500 |  | 300
Utd.Arab Emir. | TAWEELAH | Natural gas | NON MERCHANT | 20% | Equity | 1592 |  | 318.4
Utd.Arab Emir. | UMM AL NAR | Natural gas | NON MERCHANT | 20% | Equity | 2240 |  | 448
Bahrain | AL DUR | Natural gas | NON MERCHANT | 45.05% | Equity | 1234 |  | 555.918
Bahrain | AL EZZEL | Natural gas | NON MERCHANT | 45% | Equity | 954 |  | 429.29
Bahrain | AL HIDD | Natural gas | NON MERCHANT | 30% | Equity | 928.877 |  | 278.663
Oman | AL-RUSAIL | Natural gas | NON MERCHANT | 30.88% | Equity | 664.999 |  | 205.319
Oman | BARKA II | Natural gas | NON MERCHANT | 30.88% | Equity | 678 |  | 209.333
Oman | BARKA III | Natural gas | NON MERCHANT | 46% | Equity |  | 744 |  | 342.24
Oman | AL KAMIL | Natural gas | NON MERCHANT | 100% | Global | 277 |  | 277
Oman | SOHAR | Natural gas | NON MERCHANT | 46% | Equity | 493.5 | 250.5 | 227.01 | 115.23
Oman | SOHAR | Natural gas | NON MERCHANT | 100% | Global | 585 |  | 585
Qatar | RAS LAFFAN B | Natural gas | NON MERCHANT | 40% | Equity | 1025 |  | 410
Qatar | RAS LAFFAN C | Natural gas | NON MERCHANT | 20% | Equity | 2730 |  | 546
Saudi Arabia | JU'AYMAH | Natural gas | NON MERCHANT | 60% | Proportional | 305.2 | 177.3 | 183.12 | 106.38
Saudi Arabia | MARAFIQ | Natural gas | NON MERCHANT | 33.33% | Equity | 2744 |  | 914.658
Saudi Arabia | RAS TANURA | Natural gas | NON MERCHANT | 60% | Proportional | 147.6 |  | 88.56
Saudi Arabia | RIYADH PP11 | Natural gas | NON MERCHANT | 20% | Equity | 604 | 1125.02 | 120.8 | 225.004
Saudi Arabia | SHEDGUM | Natural gas | NON MERCHANT | 60% | Proportional | 305 | 177.4 | 183 | 106.44
Saudi Arabia | UTHMANIYAH | Natural gas | NON MERCHANT | 60% | Proportional | 305 | 177.4 | 183 | 106.44
Turkey | ANKARA BOO | Natural gas | NON MERCHANT | 100% | Global | 763.1 |  | 763.1
Turkey | MARMARA | Natural gas | NON MERCHANT | 33.33% | Equity | 463 |  | 154.332
Energy International Business Line/ Asia | [5 empty] | 9388.8 | 1576.55 | 5177.846 | 1275.55
China | ZHENJIANG | Coal | NON MERCHANT | 0% | Not applicable | 24 |  | 0
Indonesia | PAITON | Coal | NON MERCHANT | 40.5% | Equity | 2035 |  | 824.175
Laos | HOUAY HO | Hydro | NON MERCHANT | 100% | Global | 152.5 |  | 152.5
Pakistan | KAPCO | Natural gas | NON MERCHANT | 36% | Equity | 261 |  | 93.96
Pakistan | UCH 2 | Natural gas | NON MERCHANT | 100% | Global |  | 375 |  | 375
Pakistan | UCH | Natural gas | NON MERCHANT | 94.68% | Global | 551.3 |  | 521.971
Pakistan | KAPCO | Other non renewable | NON MERCHANT | 36% | Equity | 1084 |  | 390.24
Singapore | SENOKO | Natural gas | MERCHANT | 30% | Equity | 2375 | 430 | 712.5 | 129
Singapore | PASIR PANJANG | Other non renewable | MERCHANT | 30% | Equity | 105 |  | 31.5
Singapore | SENOKO | Other non renewable | MERCHANT | 30% | Equity | 500 |  | 150
Thailand | GLOW IPP | Natural gas | NON MERCHANT | 100% | Global | 713 |  | 713
Thailand | GLOW SPP1 | Natural gas | NON MERCHANT | 100% | Global | 124 |  | 124
Thailand | GLOW SPP2 | Natural gas | NON MERCHANT | 100% | Global | 213 |  | 213
Thailand | GLOW PHASE II | Natural gas | NON MERCHANT | 100% | Global | 281 |  | 281
Thailand | GLOW PHASE IV | Natural gas | NON MERCHANT | 100% | Global | 77 |  | 77
Thailand | GLOW PHASE V | Natural gas | NON MERCHANT | 100% | Global | 342 |  | 342
Thailand | TNP2 | Natural gas | NON MERCHANT | 100% | Global |  | 110 |  | 110
Thailand | TNP (PLUAK DAENG) | Natural gas | NON MERCHANT | 100% | Global | 136 |  | 136
Thailand | GLOW CFB3 | Coal | NON MERCHANT | 100% | Global | 115 |  | 115
Thailand | GHECO ONE | Coal | NON MERCHANT | 100% | Global |  | 660 |  | 660
Thailand | GLOW SPP3 | Coal | NON MERCHANT | 100% | Global | 300 |  | 300
Thailand | GLOW IPP | Solar | NON MERCHANT | 100% | Global |  | 1.55 |  | 1.55
Energy International Business Line/ Australia | [5 empty] | 3539.975 |  | 3539.975
Australia | HAZELWOOD | Coal | MERCHANT | 100% | Global | 1542.375 |  | 1542.375
Australia | LOY YANG B | Coal | NON MERCHANT | 100% | Global | 954.6 |  | 954.6
Australia | KWINANA | Natural gas | NON MERCHANT | 100% | Global | 122 |  | 122
Australia | PELICAN POINT | Natural gas | MERCHANT | 100% | Global | 479 |  | 479
Australia | SYNERGEN | Natural gas | MERCHANT | 100% | Global | 396 |  | 396
Australia | CANUNDA | Wind | NON MERCHANT | 100% | Global | 46 |  | 46
Notes :
(1) Non merchant refers to assets with one or several long term (> 3 years) contracts
(2) Net Group share definition: % of consolidation for full and proportionally affiliates and % holding for equity consolidated companies
[6 empty] | Capacity @ 100% (MW) |  | Capacity @ Group Share (MW)
Country | Plant name | Main fuel | Contractual position |  | Consolidation method | Running | Under construction | Running | Under construction
Energy Services Business Line | [5 empty] | 2255.231 | 6.4 | 2255.231 | 6.4
France | COFELY SUD OUEST | Natural gas | # | 100% | Global | 149.57 |  | 149.57
France | CPCU SNC COGEN VITRY | Natural gas | # | 100% | Global | 130 |  | 130
France | CPCU ST OUEN | Natural gas | # | 100% | Global | 130 |  | 130
France | FINERGAZ | Natural gas | # | 100% | Global | 91.825 |  | 91.825
France | STÉ GARDANNAISE COGÉNÉRATION | Natural gas | # | 100% | Global | 90 |  | 90
France | COGÉNÉRATION INDUSTRIELLE SITE CONDAT | Natural gas | # | 100% | Global | 88 |  | 88
France | COFELY SUD-EST | Natural gas | # | 100% | Global | 67.035 |  | 67.035
France | COFELY NORD-EST | Natural gas | # | 100% | Global | 64.89 |  | 64.89
France | NE VARIETUR | Natural gas | # | 100% | Global | 56.311 |  | 56.311
France | ENERSOL | Natural gas | # | 100% | Global | 55 |  | 55
France | COFELY CENTRE OUEST | Natural gas | # | 100% | Global | 51.746 |  | 51.746
France | Natural gas (< 50MW) | Natural gas (< 50MW) | # | 100% | Global | 563.777 |  | 563.777
France | Biomass and biogas | Biomass and biogas | # | 100% | Global | 20 | 6.4 | 20 | 6.4
France | Solar | Solar | # | 100% | Global | 5.123 |  | 5.123
France | CPCU ST OUEN | Coal | # | 100% | Global | 7 |  | 7
Germany | COFELY DEUTSCHLAND GMBH | Natural gas | # | 100% | Global | 9.87 |  | 9.87
Italy | CENTRALE DI ACERRA | Natural gas | # | 100% | Global | 89 |  | 89
Italy | Natural gas (< 50MW) | Natural gas (< 50MW) | # | 100% | Global | 191.307 |  | 191.307
Italy | COFELY ITALIA - ENR SOLAIRE | Solar | # | 100% | Global | 2.127 |  | 2.127
Spain | COFELY SPAIN | Natural gas | # | 100% | Global | 27.433 |  | 27.433
Spain | SOLVAY | Natural gas | # | 100% | Global | 24.9 |  | 24.9
United Kingdom | Natural gas (< 20MW) | Natural gas (< 20MW) | # | 100% | Global | 37.02 |  | 37.02
Frenc.Polynesia | EDT - ENR HYDRO | Hydro | # | 100% | Global | 47.8 |  | 47.8
Frenc.Polynesia | CENTRALE E. MARTIN | Other non renewable | # | 100% | Global | 122.8 |  | 122.8
Frenc.Polynesia | CENTRALE VAIRAATOA | Other non renewable | # | 100% | Global | 37.5 |  | 37.5
Frenc.Polynesia | TAHITI INT OM | Other non renewable | # | 100% | Global | 77.88 |  | 77.88
Frenc.Polynesia | EDT - ENR SOLAIRE | Solar | # | 100% | Global | 0.547 |  | 0.547
Frenc.Polynesia | EDT - ENR EOLIEN | Wind | # | 100% | Global | 0.12 |  | 0.12
New Caledonia | EEC - ENR SOLAIRE | Solar | # | 100% | Global | 0.22 |  | 0.22
New Caledonia | EEC - ENR EOLIEN | Wind | # | 100% | Global | 13 |  | 13
Vanuatu | UNELCO VANUATU - ENR SOLAIRE | Other renewable | # | 100% | Global | 0.1 |  | 0.1
Vanuatu | UNELCO VANUATU - ENR EOLIEN | Wind | # | 100% | Global | 3.03 |  | 3.03
Wallis,Futuna | EEWF - ENR SOLAIRE | Other renewable | # | 100% | Global | 0.15 |  | 0.15
Wallis,Futuna | EEWF - ENR HYDRO | Hydro | # | 100% | Global | 0.15 |  | 0.15
TOTAL | [5 empty] | 118228.506 | 11772.17 | 89239.834 | 7780.901
Notes :
(1) Non merchant refers to assets with one or several long term (> 3 years) contracts
(2) Net Group share definition: % of consolidation for full and proportionally affiliates and % holding for equity consolidated companies